Scope

-----

This is a demo application designed to show the functionality of LibPlaqueDLL.dll

Compiling

---------

You should use Visual Studio 2005 to compile this project.

Before executing the demo application, you need to move a copy of file LibPlaqueDLL.dll to the subfolders 'Debug' and 'Release'.

How to use the demo application

-------------------------------

Load an ultrasound image file via menu point File -> Open.

Note that you will need to select file type 'Test raw' for bitmaps and 'Test Dicom' for DICOM files - otherwise you will get an error message.

Once the image is displayed, you need to draw a line inside the displayed vessel.

To draw the line:

- left click once in the vessel

- move the mouse (a line is drawn from the first point to the mouse pointer)

- left click a second point in the vessel

Now the program will search for the intima media.

(If you drew the line from left to right, then points below the line will be detected,

otherwise the points above the lines will be detected.)

The detected border points of the intima media are displayed in green and yellow.

At the bottom of the window, the result values are displayed in white text.

NOTES

-----

In this demo application hard coded scaling is applied to non-DICOM images.

If you want to change this scaling, you need to modify the call to

plaqueInterface.initializeFromRaw() in CMainFrame::OnOpenFile().